## bus
idx | name | vn_kv | type | zone | in_service
0 | bus_1 | 0.4
1 | bus_2 | 0.4
2 | bus_3 | 0.4
3 | bus_4 | 0.4
4 | bus_5 | 0.4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30

## line
idx | name | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | max_i_ka | parallel | type | r0_ohm_per_km | x0_ohm_per_km | c0_nf_per_km | g_us_per_km | df | std_type | in_service
0 | line_0 | 0 | 1 | 10 | 0.006 | 0.0173 | 0 | 0.627
1 | line_1 | 0 | 3 | 15 | 0.009909 | 0.002924 | 27.5 | 0.29
2 | line_2 | 0 | 4 | 7 | 0.00119 | 0.00051 | 5.5 | 0.38
3 | line_3 | 1 | 2 | 9 | 0.006576 | 0.002087 | 20.5 | 0.29
4 | line_4 | 2 | 3 | 20 | 0.006 | 0.0173 | 0 | 0.627
5 | line_5 | 3 | 4 | 8 | 0.009909 | 0.002924 | 27.5 | 0.29
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30

## switch
idx | name | bus | element | et | closed | type | z_ohm | in_ka | in_service
0
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30

## trafo
idx | name | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | vector_group | vk0_percent | vkr0_percent | mag0_percent | mag0_rx | si0_hv_partial | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | std_type | df | in_service
0
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30

## ext_grid
idx | name | bus | vm_pu | va_degree | slack_weight | s_sc_max_mva | s_sc_min_mva | rx_min | rx_max | r0x0_max | x0x_max | in_service
0 | ext_grid_0 | 0
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30

## sgen
idx | name | bus | p_mw | q_mvar | sn_mva | scaling | profile_mapping | type | k | rx | current_source | in_service
0 | pv_0 | 1 | 0.1 | 0
1 | pv_1 | 4 | 0.2 | 0
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30

## load
idx | name | bus | p_mw | q_mvar | scaling | profile_mapping | const_z_percent | const_i_percent | sn_mva | in_service | type
0 | load_0 | 1 | 0.05 | 0.005
1 | load_1 | 2 | 0.1 | 0.01
2 | load_2 | 3 | 0.1 | 0.01
3 | load_3 | 4 | 0.05 | 0.005
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30